VILLAGE OF SILVER LAKE

ORDINANCE  NO. 472

AN ORDINANCE TO AMEND ORDINANCE 313 SECTION 9.09 ILLICIT DISCHARGES AND CONNECTIONS

Sec. 9.09		ILLICIT DISCHARGES AND CONNECTIONS.

(a)	DEFINITIONS.  The following definitions shall be applicable in this Section:

(1)	Illicit Connection:  Any drain or conveyance, whether on the surface or 				subsurface, which allows an illegal discharge to enter the storm drain system 			including but not limited to any conveyances which allow any non-storm water 			discharge including sewage, process wastewater, and wash water to enter the 			storm drain system and any connections to the storm drain system from indoor 			drains and sinks, regardless of whether said drain or connection had been allowed, 		permitted, or approved by a government agency, prior to the adoption of this 			ordinance.

(2)	Person:  means any individual, association, organization, partnership, firm, 			corporation or other entity recognized by law and acting as either the owner or as 			the owner’s agent.

(3)	Storm Drainage System:  Publicly-owned facilities by which storm water is 			collected and/or conveyed, including but not limited to any roads with drainage 			systems, municipal streets, gutters, curbs, inlets, piped storm drains, pumping 			facilities, retention and detention basins, natural and human-made or altered 			drainage channels, reservoirs, and other drainage structures.

(b)	DISCHARGES PROHIBITED.  No person shall discharge, spill or dump substances or 	materials which are not entirely composed of storm water into receiving bodies of water 	or onto driveways, sidewalks, parking lots or other areas that drain into the storm 	drainage system.

(c)	CONNECTIONS PROHIBITED.  The construction, use, maintenance or continued 	existence of illicit connections to the storm drainage system is prohibited.  This 	prohibition expressly includes, without limitation, illicit connections made prior to the 	adoption of this ordinance, regardless of whether the connection was permissible under 	law or practice applicable or prevailing at the time of construction.

(d)	EXEMPTIONS.  The following activities are exempt from the provisions of this section 	unless found to have an adverse impact on the storm water:

(1)	Discharges authorized by a permit issued by the Wisconsin Department of Natural 		Resources.

(2)	Discharges resulting from fire fighting activities.

(3)	Discharges from uncontaminated ground water, potable water source, roof drains, 			foundation drain and sump pump, air conditioning condensation, springs, lawn 			watering, individual residential car washing, water main and hydrant flushing and 			swimming pools if the water has been dechlorinated.

(e)	ENFORCEMENT.  Whenever the Village finds a person has violated a prohibition or 	failed to meet a requirement of this Section, the Village may order compliance by written 	notice of violation to the responsible person.  Such notice may require without limitation:

(1)	The elimination of illicit connections or discharges;

(2)	That violating discharges, practices, or operations shall cease and desist;

(3)	The abatement or remediation of storm water pollution or contamination hazards 			and the restoration of any affected property;

(4)	In the event the person fails to eliminate the illicit connections or discharge, fails to cease and desist in discharges, practices or operations in violation of this Section or fails to abate or remediate the storm water pollution or contamination hazards, that person may be subject to a forfeiture of not less than $50.00 nor more than $500.00 for each offense, together with the cost of prosecution.  Each day that the violation exists shall constitute a separate offense.

(5)  	In the event that an illicit discharge is identified, and emergency clean up action is undertaken by the Village, WDNR, or other authority having jurisdiction, the persons may be subject to all associated clean up costs incurred.

- EFFECTIVE DATE

This ordinance shall be effective immediately upon passage and posting as required by law.

Introduced this 20th day of February, 2008.

Adopted this 	5th	day of March 2008.

VILLAGE OF SILVER LAKE

By:

ROGER JOHNSON, President

ATTEST:

TERRY FABER, Clerk/Treasurer                              Voted Aye	 7

Voted Nay 0

Absent

Abstain